## Slide 1: Week 13
Keel Bone Chicken Project
03/30/26

## Slide 2: This Week
Weekly Progress
PCB Updates
  Design(s) sent over to DL-Engineering
Sensor Updates
  Tested manually
  Web logger issues
RFID Charging Updates
  NDA issues inquired to Niedra and Legal Department
Paper Updates
  Paper almost ready for submission
Next Week

## Slide 3: PCB Updates
Design(s) sent over to DL-Engineering
Both designs packaged for DL-Engineering to verify:
  Gerber Files
  Placement Files
  Bill of Materials

## Slide 4: Sensor Updates
Tested Sensors manually
No visible errors with sensor readings
  Strain gauge – resistance did measurably change
  Force gauge – Sudden shocks in voltage
Still need further testing to 100% verify

## Slide 5: Sensor Updates
Web logger issues
Omosalewa said that the web logger was down for a bit
Either an issue with github pages or another hit
Have to investigate further; discuss with Omosalewa what happened

## Slide 6: RFID Charging Updates
NDA issues inquired to Niedra and Legal Department
NDA cannot only be signed by Professor Nawrocki for usage of hardware
Inquired Niedra about the legal attributes
Also contacted Purdue’s legal department

## Slide 7: Paper Updates
Paper almost ready for submission
Should hit 4/24 deadline
Waiting on 100% high quality images to finalize figures
Made needed adjustments from Professor Nawrocki and Professor Salas
Next meeting: Paper Review

## Slide 8: Next Week
Next Week’s Plan
Finalize Paper
Ask Omosalewa for a couple more images of the system (high quality)
Paper Review (4/20) should be all of next meeting before I submit (hopefully 4/21)

## Slide 9: Thank You
Purdue Polytechnic Institute