## Slide 1: Week 13
Keel Bone Chicken Project
03/30/26

## Slide 2: This Week
Weekly Progress
PCB Updates
  Rev. 6 PCB created with optimal sizing for given backpack
  Pin Header sizing
  Non-essential components removed for Rev. 4
Powercast Updates
  NDA issues with procurement of information
Paper Updates
  Meeting with Professor Salas today

## Slide 3: PCB Updates
Rev. 6 PCB created with optimal sizing for given backpack
Created to accommodate 35 x 45 x 17 mm size of backpack
All components fit on single side of board
Pin header sizing will not be an issue (~11.54 mm)

## Slide 4: PCB Updates
Pin Header sizing is sufficient to require minimal modifications

## Slide 5: PCB Updates
Non-essential components removed for Rev. 5
Back to Rev. 5 of the PCB
Powercast Harvester removed
  Temporary change, need to assess
Charge amplifier removed for irrelevance to paper

## Slide 6: Powercast Updates
NDA issues with procurement of information
Powercast needs more NDA authority than anticipated
Other commercial products (2) worth looking into
  P1110b
  P2110b
  Both short range pick and place modules

## Slide 7: Paper Updates
Meeting with Professor Salas today
Paper review
Go over clarity and depth
Bring revisions for feedback

## Slide 8: Thank You
Purdue Polytechnic Institute