## Slide 1: Week 14
Keel Bone Chicken Project
12/01/2025

## Slide 2: This Week
This week’s progress
Web App Development
  Data logger works without need of constrained app
Case Study on Resistive vs. Capacitive Sensors
Rev. 2 PCB Started
  Component placement on board

## Slide 3: Web App Development
Data logger locally hosted
Website now live at:
https://nhuang58.github.io/Biomedical_Device_PCB/
Can be locally hosted, no need for a server
  Data needs to be pulled when collection complete
  Unsure if bandwidth will be an issue
Working on compatibility with hardware (iPads)
  Determine if iPads are realistic to run with BLE, or another approach is needed
Live website: https://nhuang58.github.io/Biomedical_Device_PCB/

## Slide 4: Case Study on Resistive vs. Capacitive Sensors
3 Main Sources for Research
Digi-Key Electronics
Mouser Electronics
Interlink Electronics (Contacted)

## Slide 5: Case Study on Resistive vs. Capacitive Sensors
Digi-Key Electronics: 1-800-344-4539
Resistive vs. Capacitive Sensors
Strain Gauge – Resistive:
  CEA-05-250-A350 ($18.00)
    (.45 x .18 inches) Area
Force Gauge – Only Resistive Options:
  Load Cell Device: Based on Pressure
    Used in scales, weight, etc.
  3917-GHB-10-ND ($5.86)
    12 mm diameter (round area)
  K-011-0400-80-NE2-K1-G1 ($130.87)
    12 mm diameter (round area)

## Slide 6: Case Study on Resistive vs. Capacitive Sensors
Mouser Electronics: 1-817-804-3888
Resistive vs. Capacitive Sensors
  Unable to assist with applications due to viability concerns
Resistive Force Gauge:
  https://www.mouser.com/c/sensors/force-sensors-load-cells/?operating%20force=20%20N&output%20type=Analog
    Higher end product (~$90-110)
  Load Cells are commonly used, almost entirely resistive
    Not many options for capacitive sensors in Mouser’s arsenal
Resistive Strain Gauge:
  Mouser PN: 485-4542 ($3.95 per unit)
  Very cheap unit cost for resistive vs. capacitive units
    However, only capacitive sensors are reliably capable at running at 3.3 V supply
  https://www.mouser.com/c/sensors/force-sensors-load-cells/?operating%20supply%20voltage=3.3%20V&sensor%20type=Force%20Sensor
  Middle end cost (~$30-50)

## Slide 7: Rev. 3 PCB Started
Component Placement on Board
Need to resize the battery
Consider size constraints for PCB again

## Slide 8: Next Week
Blockers & Next Week’s Work
Analyze what can be done with Hardware issues
Refine Rev. 2 of PCB
Send Sensors + Quotes of Sensors to Charles
Blockers:
Hardware restrictions given by Agriculture departments
  Could a computer be used instead? It would simplify a lot
  What other hardware can be purchased and used at the farm?

## Slide 9: Thank You
Purdue Polytechnic Institute