## Slide 1: Week 13
Keel Bone Chicken Project
03/30/26

## Slide 2: This Week
Weekly Progress
PCB Updates
  New sizing for PCB discovered
Sensor Updates
  Strain & force gauges received
  Begin process of calibration on breadboard
Data Logger Updates
  Agriculture issues resolved
  Device protocol changed
Powercast Updates
  NDA should be addressed to Professor Nawrocki soon
Next Week

## Slide 3: PCB Updates
New sizing for PCB discovered
Remeasured backpack:
  Exterior: 37 mm x 44 mm x 16.5 mm
  Interior: 42 mm x 34 mm x 14 mm
Changed sizing on second PCB variation:
  Lost a bit of area

## Slide 4: Sensor Updates
Strain & Force Gauges Received
Checked shipment areas for sensors
Both strain and force have arrived

## Slide 5: Sensor Updates
Begin process of calibration on breadboard
Wheatstone bridge to calibrate strain gauge
  ~3% tolerance, hopefully can be hit
Test charge amplifier on PCB to calibrate force gauge

## Slide 6: Data Logger Updates
Agriculture Issues Resolved
Agriculture was using broken devices for some of the testing, got that resolved
Needed a better fix for the excess power that might have been draining
Set maximum records to an even higher constraint

## Slide 7: Data Logger Updates
Device Protocol Changes
Turned off unnecessary parts of the device if not going to be used
Can be easily changed or modified

## Slide 8: Powercast Updates
NDA should be addressed to Professor Nawrocki soon
Asked Dan Harrist for a version of the NDA to be sent to Professor Nawrocki
  NDA should be arriving to purdue email soon
Also asked for clarification on P2110B and P1110B

## Slide 9: Next Week
Next Week’s Plan
Finalize Paper
Ask Omosalewa for a recording of the data as it is collected
  Match up chicken results to chicken video
  Edit the video so such results are shown
Do final data analysis on data collected

## Slide 10: Thank You
Purdue Polytechnic Institute